
**SKU CODE:** **CL12X3WDMX**

**Fountain Light 304 Stainless steel 12x3W 24VDC RGB DMX**

|  |  |
| --- | --- |
| **Product specifications:**  With 3 Led 1 Watt | |
| Size: Dia 170mm, H150mm  Beam Angle: 30\* | |
| Power: AC24V 36W | |
| Housing material: 316 Stainless Steel | |
| Cable length: 1 pcs cable (DMX+ Power mixed cable) | |
| Colour: RGB DMX512 Parallel  2-year warranty |

**A close-up of a light

Description automatically generated**

****